## Dev FHIR BPs
Inputs/Guidelines/BPs
1 | Include Multiple Coding Systems in the mapping document and FHIR when possible (LOINC, RadLex, SNOMED-CT) (input mapping and output documents)
2 | Support JSON Output (in library/code)
3 | Externalize Coding System and Annalise Ontology Mapping (in library/code)
4 | Include Absence/Presence Observations for Analytics and Presence Observation for Clinical
5 | Include Lateralities (LEFT, RIGHT, BILATERAL) for non-FDA findings for Analytics. Include Subset of Lateralities with clinical evidence (~26) for Clinical
6 | All findings shall be reported in a flat structure (i.e., findings shall not be grouped into panels). Thus, all observation.code at the parent level shall be unique (pre-coordinated).
7 | Observations at the root level will not have the same observation.code (no repeats)
R1 | Use RadElement coding for findings that don't have Nuance codes
R1 | Use Annalise and Nuance coding for findings that have Nuance codes

## FHIR JSON
{ |  | The CXR FHIR output shall be a FHIR R4 compliant FHIR Diagnostic Report
"resourceType": "DiagnosticReport", |  | The CXR FHIR output shall be a DiagnosticReport FHIR Resource in JSON format
"id": "7823a7ba-9c18-4c29-8e49-75bd6b1b2eaa", |  | The CXR FHIR DiagnosticReport ID is a randomly generated GUID
"status": "final", |  | The CXR FHIR DiagnosticReport status shall always be "final"
"category": [ { |  | The CXR FHIR DiagnosticReport category shall be a Radiology Report Category described using HL7 Terminology Coding System
"coding": [
{
"code": "RAD",
"display": "Radiology",
"system": "http://terminology.hl7.org/CodeSystem/v2-0074"
}
]
} ],
"code": { |  | The CXR FHIR DiagnosticReport code shall be a "Radiology Diagnostic study note" described using the LOINC Coding System
"coding": [
{
"code": "68604-8",
"display": "Radiology Diagnostic study note",
"system": "http://loinc.org"
}
]
},
"contained": [
{ |  | The CXR FHIR DiagnosticReport shall include an ImagingStudy Resource as a component
"id": "2abffd48-ffac-495f-aebe-fb7a2d3d2609", |  | The CXR FHIR ImagingStudy component ID is a randomly generated GUID
"resourceType": "ImagingStudy", |  | The CXR FHIR ImagingStudy component resourceType is ImagingStudy
"identifier": [ { |  | The CXR FHIR ImagingStudy component global identifier will be described using the HL7 Terminology Coding System and set to the "Accession Number" found in DICOM Tag (0008,0050)
"type": {
"coding": [
{
"code": "ACSN",
"display": "Accession ID",
"system": "http://terminology.hl7.org/CodeSystem/v2-0203"
}
]
},
"use": "usual",
"value": "Tag: DICOM(0008,0050)" |  | Assumption: De-id of DICOM Data in the docker container can be Re-id by the infrastructure (marketplace)
} ],
"status": "available",
"subject": {
"reference": "#5fc61a31-3654-496c-91b8-741f4555493f" |  | The CXR FHIR ImagingStudy component shall refer to the Patient FHIR resource as the subject of the imaging study using its GUID
},
"procedureCode": [ |  | The CXR FHIR ImagingStudy component shall describe the procedureCode for the ImagingStudy using SNOMED and LOINC Coding Systems (refer: $procedureCode)
{ |  | Note: RadLex Playbook is integrated with LOINC
"coding": [
{
"system": "http://snomed.info/sct", |  | Refer $procedureCode
"code": "399208008", |  | Refer $procedureCode
"display": "Chest X-ray" |  | Refer $procedureCode
}
],
"text": "Chest X-ray"
}
]
},
{ |  | The CXR FHIR DiagnosticReport shall include an Patient Resource as a component
"id": "5fc61a31-3654-496c-91b8-741f4555493f", |  | The CXR FHIR Patient component ID is a randomly generated GUID
"resourceType": "Patient", |  | The CXR FHIR Patient component resourceType is Patient
"identifier": [ { |  | The CXR FHIR Patient component global identifier will be described using the HL7 Terminology Coding System and set to the "Medical Record Number" found in DICOM Tag (0010,0020)
"type": {
"coding": [
{
"code": "MR",
"system": "http://terminology.hl7.org/CodeSystem/v2-0203"
}
]
},
"use": "usual",
"value": "Tag: DICOM(0010,0020)" |  | Assumption: De-id of DICOM Data in the docker container can be Re-id by the infrastructure (marketplace)
}]
},
{ |  | The CXR FHIR DiagnosticReport shall include an Device Resource as a component
"id": "8b8b74f4-e222-4234-9715-73f79b9923a5", |  | The CXR FHIR Device component ID is a randomly generated GUID
"resourceType": "Device", |  | The CXR FHIR Device component resourceType is Device
"manufacturer": "annalise.ai", |  | The CXR FHIR Device component manufacturer shall be "annalise.ai"
"deviceName" : [ { |  | The CXR FHIR DeviceName shall be "annalise-cxr-analytics"
"name": "annalise-cxr-analytics",
"type": "model-name"
} ],
"modelNumber": "annalise-cxr-analytics", |  | The CXR FHIR Device component model shall be "annalise-cxr-analytics"
"version": [ { "value": "1.0" } ] |  | The CXR FHIR Device component version shall be "1.0"
},
{ |  | The CXR FHIR DiagnosticReport shall include an Observation Resource as a component to describe the technique used to generate results using SNOMED Coding System
"id": "e4d6393e-f2db-11ed-a05b-0242ac120003", |  | The CXR FHIR Observation component ID is a randomly generated GUID
"resourceType": "Observation", |  | The CXR FHIR Observation component resourceType is Observation
"code": {
"coding": [
{
"code": "246501002",
"system": "http://snomed.info/sct",
"display": "Technique"
}
]
},
"valueString": "AI Technique",
"status": "final"
},
{ |  | The CXR FHIR DiagnosticReport shall include an Observation Resource as a component to describe findings generated by the AI CXR model
"resourceType": "Observation", |  | The CXR FHIR Observation component resourceType is Observation
"id": "50cc4b63-e3d7-466c-86a6-127c002590e8", |  | The CXR FHIR Observation component ID is a randomly generated GUID
"status": "final", |  | The CXR FHIR Observation component status shall always be "final"
"derivedFrom": [ |  | The CXR FHIR Observation component that describes a finding shall reference the ImagingStudy Resource
{
"reference": "#2abffd48-ffac-495f-aebe-fb7a2d3d2609"
}
],
"code": { |  | R1 - The CXR FHIR Observation.code shall include a pre-coordinated term that describes the finding using these Coding Systems - Annalise, RadElement, and Custom Marketplace (E.g., Nuance) (exclude: LOINC, SNOMED, LOINC)
"coding": [ |  | R2 - The CXR FHIR coding systems to be used during report generation will be configurable (and configuration available in the service section of JOBS API)
{ |  | R1 - The finding is represented in the coding system specified in column - D (bodySite will use the usual coding systems).
"system": "https://www.annalise.ai/guides", |  | R1 - While representing in RadElement, the RDES codes will be the observation.code, and children will be added as ObservationComponents in observation.component. Each observation.component will have an RDE code with values in valueCodeableConcept
"code": "aortic_stent",
"display": "Aortic stent"
},
{
"system": "http://snomed.info/sct",
"code": "705641004",
"display": "Aortic stent"
},
{
"system": "http://loinc.org",
"code": "LP34000-7",
"display": "Aortic stent"
} ],
"text": "Aortic stent" |  | The CXR FHIR Observation "text" shall match the Annalise display name for mappings represented in Annalise and Marketplace coding systems
},
"bodySite": { |  | The CXR FHIR Observation.bodySite shall be described in these Coding Systems - SNOMED and RadLex (exclude: RadElement, Annalise, LOINC)
"coding": [
{
"system": "http://radlex.org",
"code": "RID480",
"display": "aorta"
},
{
"system": "http://snomed.info/sct",
"code": "15825003",
"display": "Aorta"
}
]
},
"effectiveDateTime": "2023-05-19T10:30:00Z", |  | The CXR FHIR Observation.effectiveDateTime will be the "current time" reported in the ISO 8601 extended date/time format ([YYYY]-[MM]-[DD][T][HH]:[MM]:[SS][Z]) at UTC)
"valueCodeableConcept": { |  | The CXR FHIR Observation (except when represented in RadElement) will have a presence value described in RadLex, SNOMED, and MarketPlace coding systems
"coding": [ |  | The CXR FHIR Observation (when represented in RadElement using sets) will have not have a presence value described as the observation.value; instead presence descriptors will be added as Observation Components
{
"system": "http://radlex.org",
"code": "RID28472",
"display": "present"
},
{
"system": "http://snomed.info/sct",
"code": "52101004",
"display": "present"
},
{
"system": "http://nuancepowerscribe.com/ai",
"code": "90090301",
"display": "Finding Qualifier"
}
],
"text": "present" |  | <same as display>
},
"note": [
{
"text": "Aortic stent is present" |  | The CXR FHIR Observation.note will be a string computed "<observation.code.display> is <present/absent>" using observation.code and finding result.
} |  | The CXR FHIR Observation (when represented in RadElement using sets) will have not have a observation note
],
"component": [ |  | The CXR FHIR Observation will have these mandatory components - DICOM Study Instance UID Qualifier, Tracking Identifier, Global Tracking Identifier, Finding Qualifier, Finding Probability, and Finding Laterality
{ | DICOM Study Instance UID Qualifier | The CXR FHIR Observation will have these optional qualifier/descriptor components to qualify the observation.code
"code": { |  | The CXR FHIR mandatory component DICOM Study Instance UID Qualifier shall be described using the DICOM coding system
"coding": [
{
"system": "http://dicom.nema.org/resources/ontology/DCM", |  | Refer $studyCode
"code": "110180", |  | Refer $studyCode
"display": "Study Instance UID" |  | Refer $studyCode
}
]
},
"valueString": "Tag: (0020,000D)"
},
{ | Tracking Identifier Qualifier | The CXR FHIR mandatory component Tracking Identifier shall be described using the DICOM coding system
"code": {
"coding": [
{
"system": "http://dicom.nema.org/resources/ontology/DCM", |  | Refer $trackingIdentifier
"code": "112039", |  | Refer $trackingIdentifier
"display": "Tracking Identifier" |  | Refer $trackingIdentifier
}
]
},
"valueString": "$observation.code.display"
},
{ | Global Tracking Identifier Qualifier | The CXR FHIR mandatory component Global Tracking Identifier shall be described using the DICOM coding system
"code": {
"coding": [
{
"system": "http://dicom.nema.org/resources/ontology/DCM", |  | Refer $trackingUID
"code": "112040", |  | Refer $trackingUID
"display": "Tracking Unique Identifier" |  | Refer $trackingUID
}
]
},
"valueString": "1.2.333.44444.5.66.123451234512345123451234512345123451234" |  | Need to determine root UID
},
{ | Finding Presence Qualifier | The CXR FHIR mandatory component Finding Qualifier shall be described using RadLex, SNOMED, and Marketplace specific coding system.
"code": {
"coding": [
{
"system": "http://radlex.org",
"code": "RID28473",
"display": "absent"
},
{
"system": "http://snomed.info/sct",
"code": "2667000",
"display": "absent"
},
{
"system": "http://nuancepowerscribe.com/ai",
"code": "90090301",
"display": "Finding Qualifier"
}
]
},
"valueString": "absent"
},
{ | Probability Qualifier | The CXR FHIR mandatory component Finding Probability shall be described using the RadLex, SNOMED, and Marketplace coding systems
"code": { |  | The CXR FHIR mandatory component Finding Probability value shall be described using the UOM (units of measure) coding system
"coding": [ |  | The CXR FHIR Observation will not report probability for FDA approved findings in the USA.
{ |  | The CXR FHIR Observation will report probability for all findings in ROW.
"system": "http://radlex.org",
"code": "RID33",
"display": "Probably"
},
{
"system": "http://snomed.info/sct",
"code": "2931005",
"display": "Probably"
},
{
"system": "http://snomed.info/sct",
"code": "90090302",
"display": "Finding Probability"
}
]
},
"valueQuantity": {
"value": 87.25,
"unit": "percent",
"system": "http://unitsofmeasure.org",
"code": "%"
}
},
{ | Laterality Qualifier (3 instances) | The CXR FHIR mandatory component Finding Laterality shall be described using the SNOMED coding system
"code": { |  | The CXR FHIR mandatory component Finding Laterality Probailities for LEFT, RIGHT, and BILATERAL shall be included
"coding": [ |  | The CXR FHIR Observation will not report LATERALITY for FDA approved findings in the USA.
{ |  | The CXR FHIR Observation will report LATERALITY for all findings in ROW.
"system": "http://snomed.info/sct",
"code": "7771000",
"display": "Left lateral"
}
]
},
"valueQuantity": {
"value": 87.25,
"unit": "percent",
"system": "http://unitsofmeasure.org",
"code": "%"
}
}
]
}
],
"imagingStudy": [{ |  | The CXR FHIR DiagnosticReport shall include a reference to the contained ImagingStudy
"reference": "#2abffd48-ffac-495f-aebe-fb7a2d3d2609"
}],
"result": [ |  | The CXR FHIR DiagnosticReport shall include a reference to the all containeded Observations
{ "reference": "#e4d6393e-f2db-11ed-a05b-0242ac120003" }, |  | <Observation: AI Technique Reference>
{ "reference": "#50cc4b63-e3d7-466c-86a6-127c002590e8" } |  | <Observation: Surgical Stent>
],
"subject": { |  | The CXR FHIR DiagnosticReport shall include a reference to the contained Device resource describing the source of the report
"reference": "#8b8b74f4-e222-4234-9715-73f79b9923a5" |  | <Device>
},
"conclusion": "final generated report" |  | The CXR FHIR DiagnosticReport conclusion shall be an empty string
}

## Codes - Obs
[8 empty] | Annalise (system: https://www.annalise.ai/guides) |  | Nuance (http://nuancepowerscribe.com/ai) |  | RadLex (system: http://radlex.org) |  |  |  | SNOMED (system: http://snomed.info/sct) |  |  |  | LOINC (system: http://loinc.org) |  | RADELEMENT (system: http://radelement.org)
ROW | USA | FDA 510(K) | R1- Coding System | Pre-coordinated Coding System | Post-coordinated Coding System | Body Site | Finding Type | observation.code | observation.display | observation.code | observation.display | code | display | qualifier.code | qualifier.display | code | display | qualifier code | qualifier display | code | display | set code | set display | obs code | obs code display | value/qualifier code | value/qualifier code display
Yes | No | No | A, N | A, N | R, S | bodySite: abdomen | Object | abdominal_clips | Abdominal clips | 90200000 | Abdominal clips | RID5607 | surgical clip |  |  | 386010000 | Surgical clip
Yes | No | No | A, N | A, N |  | bodySite: aorta | Finding | acute_aortic_syndrome | Widened aortic contour | 90200002 | Widened aortic contour | [10 empty] | RDES126 | Acute Aortic Syndrome | RDE825 | Acute Aortic Syndrome | RDE825.0, RDE825.1 | absent, present
Yes | No | No | A, N | A, N, S |  | bodySite: thoracicaorta | Finding | unfolded_aorta | Unfolded aorta | 90200003 | Unfolded aorta |  |  |  |  | 142111000119108 | Ectasia of thoracic aorta
Yes | No | No | A, N | A, N | R, S | bodySite: aorticarch | Finding | aortic_arch_calcification | Aortic arch calcification | 90200004 | Aortic arch calcification | RID34253 | vascular calcification |  |  | 237897009 | Vascular calcification
Yes | No | No | A, N | A, N, S, L |  | bodySite: aorta | Object | aortic_stent | Aortic stent | 90200005 | Aortic stent |  |  |  |  | 705641004 | Aortic stent |  |  | LP34000-7 | Aortic stent
Yes | No | No | RE(n) | A, N | R(n), S(n), RE(n) | bodysite: lung | Finding | focal_airspace_opacity | Focal airspace opacity | 90200015 | Focal airspace opacity | RID28530 | opacity | RID5702 | focal | 128308005 | Radiologic opacity | 87017008 | focal |  |  | RDES225 | Chest Radiograph Airspace Opacities | RDE1572 RDE1536 | Distribution Presence | RDE1572.0 RDE1536.0, RDE1536.1 | focal present, absent
Yes | No | No | RE(n) | A, N | R(n), S(n), RE(n) | bodysite: lung | Finding | multifocal_airspace_opacity | Multifocal airspace opacity | 90200016 | Multifocal airspace opacity | RID28530 | opacity | RID5703 | multifocal | 128308005 | Radiologic opacity | 524008 | multifocal |  |  | RDES225 | Chest Radiograph Airspace Opacities | RDE1572 RDE1536 | Distribution Presence | RDE1572.1 RDE1536.0, RDE1536.1 | multifocal present, absent
Yes | No | No | A, N | A, N | R(n), S(n), RE(n) | bodysite: lung | Finding | diffuse_airspace_opacity | Diffuse airspace opacity | 90200017 | Diffuse airspace opacity | RID28530 | opacity | RID5701 | diffuse | 128308005 | Radiologic opacity | 19648000 | diffuse |  |  | RDES225 | Chest Radiograph Airspace Opacities | RDE1572 RDE1536 | Distribution Presence | RDE1572.2, RDE1572.3 RDE1536.0, RDE1536.1 | diffuse upper, diffuse lower present, absent
Yes | No | No | RE(n) | A, N | R(n), S(n), RE(n) | bodysite: lowerlung | Finding | diffuse_lower_airspace_opacity | Diffuse lower airspace opacity | 90200018 | Diffuse lower airspace opacity | RID28530 | opacity | RID5701 | diffuse | 128308005 | Radiologic opacity | 19648000 | diffuse |  |  | RDES225 | Chest Radiograph Airspace Opacities | RDE1572 RDE1536 | Distribution Presence | RDE1572.3 RDE1536.0, RDE1536.1 | diffuse lower present, absent
Yes | No | No | RE(n) | A, N | R(n), S(n), RE(n) | bodysite: upperlung | Finding | diffuse_upper_airspace_opacity | Diffuse upper airspace opacity | 90200020 | Diffuse upper airspace opacity | RID28530 | opacity | RID5701 | diffuse | 128308005 | Radiologic opacity | 19648000 | diffuse |  |  | RDES225 | Chest Radiograph Airspace Opacities | RDE1572 RDE1536 | Distribution Presence | RDE1572.2 RDE1536.0, RDE1536.1 | diffuse upper present, absent
Yes | No | No | A, N | A, N | R, S | bodysite: perihilarlung | Finding | diffuse_perihilar_airspace_opacity | Perihilar airspace opacity | 90200019 | Perihilar airspace opacity | RID28530 | opacity | RID5701 | diffuse | 128308005 | Radiologic opacity | 19648000 | diffuse
Yes | No | No | A | RE |  | bodysite: humerus | Finding | acute_humerus_fracture | Acute humerus fracture | [6 empty] | 66308002 | Fracture of humerus |  |  |  |  | RDES232 | Acute Humerus Fracture | RDE1476 RDE1479 | Presence Side | RDE1476.0, RDE1476.1 RDE1479.0, RDE1479.1, RDE1479.2 | present, absent right, left, bilateral
Yes | No | No | A | RE |  | bodysite: chestwall | Finding | acute_rib_fracture | Acute rib fracture | [6 empty] | 33737001 | Fracture of rib |  |  |  |  | RDES233 | Acute Rib Fracture | RDE1480 RDE1481 | Presence Side | RDE1480.0, RDE1480.1 RDE1481.0, RDE1481.1, RDE1481.2 | present, absent right, left, bilateral
Yes | No | No | A | RE |  | bodysite: clavicle | Finding | acute_clavicle_fracture | Acute clavicle fracture | [6 empty] | 58150001 | Fracture of clavicle |  |  |  |  | RDES231 | Acute clavicle fracture | RDE1473 RDE1474 | Presence Side | RDE1473.0, RDE1473.1 RDE1474.0, RDE1474.1, RDE1474.2 | present, absent right, left, bilateral
Yes | No | No | A, N | A, N |  | bodySite: Shoulder | Finding | shoulder_arthritis | Shoulder arthritis | 90200028 | Shoulder arthritis
Yes | No | No | A, N | A, N |  | bodySite: Shoulder | Finding | shoulder_dislocation | Shoulder dislocation | 90200029 | Shoulder dislocation
Yes | No | No | A, N | A, N |  | bodySite: Shoulder | Finding | shoulder_fixation | Shoulder fixation | 90200033 | Shoulder fixation
Yes | No | No | A, N | A, N |  | bodySite: Shoulder | Finding | shoulder_replacement | Shoulder replacement | 90200035 | Shoulder replacement
Yes | No | No | A, N | A, N |  | bodySite: airway | Object | airway_stent | Airway stent | 90200038 | Airway stent | [10 empty] | RDES237 | Chest Radiograph Lines and Tubes | RDE1534 | Airway stent | RDE1534.0, RDE1534.3 (if present) | absent, indeterminate
Yes | No | No | A, N | A, N | R, S | bodySite: axilla | Object | axillary_clips | Axillary clips | 90200039 | Axillary clips | RID5607 | surgical clip |  |  | 386010000 | Surgical clip
Yes | No | No | A, N | A, N, S |  | bodySite: biliarytree | Object | biliary_stent | Biliary stent | 90200041 | Biliary stent |  |  |  |  | 360123005 | Biliary stent
Yes | No | No | A, N | A, N, R, S |  | bodySite: breast | Object | breast_implant | Breast implant | 90200045 | Breast implant | RID34710 | breast implant |  |  | 2282003 | Breast implant
Yes | No | No | A, N | A, N, R, S |  | bodySite: bronchus | Finding | bronchiectasis | Bronchiectasis | 90200046 | Bronchiectasis | RID28496 | bronchiectasis |  |  | 12295008 | Bronchiectasis
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | bullae_diffuse | Diffuse bullae | 90200048 | Diffuse bullae
Yes | No | No | A, N | A, N |  | bodysite: lowerlung | Finding | bullae_lower | Lower zone bullae | 90200049 | Lower zone bullae
Yes | No | No | A, N | A, N |  | bodysite: upperlung | Finding | bullae_upper | Upper zone bullae | 90200050 | Upper zone bullae
Yes | No | No | A, N | A, N |  | bodySite: axilla | Finding | calcified_axillary_nodes | Calcified axillary nodes | 90200051 | Calcified axillary nodes
Yes | No | No | A, N | A, N, S |  | bodysite: lung | Finding | calcified_granuloma | Calcified granuloma (< 5mm) | 90200052 | Calcified granuloma (< 5mm) |  |  |  |  | 16841131000119100 | Calcified granuloma of lung
Yes | No | No | A, N | A, N |  | bodysite: pulmonaryhilum | Finding | calcified_hilar_lymphadenopathy | Calcified hilar lymphadenopathy | 90200053 | Calcified hilar lymphadenopathy
Yes | No | No | A, N | A, N |  | bodysite: neck | Finding | calcified_neck_nodes | Calcified neck nodes | 90200055 | Calcified neck nodes
Yes | No | No | A, N | A, N | R | bodysite: pleura | Finding | calcified_pleural_plaque | Calcified pleural plaques | 90200057 | Calcified pleural plaques | RID43269 | pleural plaque | RID5747 | calcified | 233658003 | Pleural plaque
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | calcified_pulmonary_mass | Calcified mass (> 5mm) | 90200058 | Calcified mass (> 5mm)
Yes | No | No | A, N | A, N, R, S |  | bodysite: cardiacvalve | Object | cardiac_valve_prosthesis | Cardiac valve prosthesis | 90200059 | Cardiac valve prosthesis | RID5550 | prosthetic cardiac valve |  |  | 25510005 | Cardiac valve prosthesis
Yes | No | No | A, N | A, N, S |  | bodysite: heart | Finding | cardiomegaly | Widened cardiac silhouette | 90200060 | Widened cardiac silhouette |  |  |  |  | 8186001 | Cardiomegaly |  |  |  |  | RDES27 | Cardiomegaly | RDE430 | Cardiomegaly | absent, present
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | cavitating_mass | Cavitating mass(es) | 90200067 | Cavitating mass(es)
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | cavitating_mass_internal_content | Cavitating mass with content | 90200068 | Cavitating mass with content
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | cervical_flexion | Cervical flexion | 90200070 | Cervical flexion
Yes | No | No | A, N | A, N |  | bodysite: clavicle | Finding | chronic_clavicle_fracture | Chronic clavicle fracture | 90200072 | Chronic clavicle fracture
Yes | No | No | A, N | A, N |  | bodysite: humerus | Finding | chronic_humerus_fracture | Chronic humerus fracture | 90200073 | Chronic humerus fracture
Yes | No | No | A, N | A, N |  | bodysite: chestwall | Finding | chronic_rib_fracture | Chronic rib fracture | 90200074 | Chronic rib fracture | [10 empty] | RDES261 | Chronic Rib Fracture | RDE1683 RDE1684 | Fracture Laterality | RDE1683.0, RDE1683.1 RDE1684.0, RDE1684.1, RDE1684.2 | absent, present left, right, bilateral
Yes | No | No | A, N | A, N, S |  | bodysite: clavicle | Finding | clavicle_fixation | Clavicle fixation | 90200075 | Clavicle fixation |  |  |  |  | 17572005 | Internal fixation of bone of clavicle
Yes | No | No | A, N | A, N, S |  | bodysite: clavicle | Finding | clavicle_lesion | Clavicle lesion | 90200076 | Clavicle lesion |  |  |  |  | 298766001 | Lesion of clavicle
Yes | No | No | A, N | A, N, S |  | bodysite: coronaryartery | Object | coronary_stent | Coronary stent | 90200082 | Coronary stent |  |  |  |  | 705643001 | Coronary artery stent
Yes | No | No | A, N | A, N, S |  | bodysite: diagphragm | Finding | diaphragmatic_elevation | Diaphragmatic elevation | 90200086 | Diaphragmatic elevation |  |  |  |  | 88936002 | Elevated diaphragm
Yes | No | No | A, N | A, N, S |  | bodysite: diagphragm | Finding | diaphragmatic_eventration | Diaphragmatic eventration | 90200087 | Diaphragmatic eventration |  |  |  |  | 34168003 | Diaphragmatic eventration
Yes | No | No | A, N | A, N |  | bodysite: pleura | Finding | diffuse_pleural_thickening | Diffuse pleural thickening | 90200089 | Diffuse pleural thickening
Yes | No | No | A, N | A, N |  | bodysite: vertebra | Finding | dish | Diffuse spinal osteophytes | 90200090 | Diffuse spinal osteophytes
Yes | No | No | A, N | A, N |  | bodysite: intestine | Finding | distended_bowel | Distended bowel | 90200091 | Distended bowel
Yes | No | No | A, N | A, N |  | bodySite: chest | Object | electronic_cardiac_devices | Electronic cardiac devices | 90200093 | Electronic cardiac devices
Yes | No | No | A, N | A, N, R, S |  | bodysite: ruq_abdomen | Finding | gallstones | Gallstones | 90200097 | Gallstones | RID4989 | gallstone |  |  | 235919008 | Gallstones
Yes | No | No | A, N | A, N | R(n), S(n) | bodysite: gastro_oesophageal | Object | gastric_band | Gastric band | 90200098 | Gastric band | RID1611 | adjustable gastric band |  |  | 470413006 | Gastric band
Yes | No | No | A, N | A, N, R, S |  | bodysite: esophageal_hiatus | Finding | hiatus_hernia | Hiatus hernia | 90200101 | Hiatus hernia | RID4897 | hiatal hernia |  |  | 84089009 | Hiatal hernia
Yes | No | No | A, N | A, N, S |  | bodysite: hilarlymphnode | Finding | hilar_lymphadenopathy | Hilar lymphadenopathy | 90200102 | Hilar lymphadenopathy |  |  |  |  | 87500009 | Hilar lymphadenopathy
Yes | No | No | A, N | A, N |  | bodysite: humerus | Finding | humeral_lesion | Humeral lesion | 90200104 | Humeral lesion
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | hyperinflation | Hyperinflation | 90200108 | Hyperinflation
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | hyperlucency | Reduced lung markings | 90200109 | Reduced lung markings
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | image_obscured | Image obscured | 90200110 | Image obscured
Yes | No | No | A, N | A, N | R(n), S(n), L(n) | bodySite: head_neck_vein | Object | in_position_cvc | In position CVC | 90200111 | In position Central Line (CVC) | RID5578 | central venous catheter |  |  | 52124006 | Central venous catheter |  |  | LP248513-6 | Central venous catheter | RDES237 | Chest Radiograph Lines and Tubes | RDE1531 | Central venous catheter | RDE1531.0 RDE1531.1 (if present) | absent, adquately positioned
Yes | No | No | A, N | A, N | R(n), S(n) | bodySite: trachea | Object | in_position_ett | In position ETT | 90200112 | In position Endotracheal tube (ETT) | RID5557 | endotracheal tube |  |  | 26412008 | Endotracheal tube |  |  |  |  | RDES237 | Chest Radiograph Lines and Tubes | RDE1530 | Endotracheal tube | RDE1530.0 RDE1530.1 (if present) | absent, adquately positioned
Yes | No | No | A, N | A, N | R(n), S(n) | bodySite: esophagus | Object | in_position_ngt | In position NGT | 90200114 | In position Nasogastric tube (NGT) | RID5566 | nasogastric tube |  |  | 17102003 | Nasogastric tube |  |  |  |  | RDES237 | Chest Radiograph Lines and Tubes | RDE1533 | Nasogastric tube | RDE1533.0 RDE1533.1 (if present) | absent, adquately positioned
Yes | No | No | A, N | A, N | S(n) | bodySite: pulmonaryartery | Object | in_position_pac | In position PAC | 90200115 | In position Pulmonary Arterial Catheter (PAC) |  |  |  |  | 397755005 | Pulmonary artery catheter |  |  |  |  | RDES237 | Chest Radiograph Lines and Tubes | RDE1532 | Pulmonary artery catheter | RDE1532.0 RDE1532.1 (if present) | absent, adquately positioned
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | incompletely_imaged | Incompletely imaged chest | 90200116 | Incompletely imaged chest
Yes | No | No | A, N | A, N |  | bodySite: mediastinum | Finding | inferior_mediastinal_mass | Inferior mediastinal mass | 90200117 | Inferior mediastinal mass |  |  |  |  | 94147001 | Mediastinal mass
Yes | No | No | A, N | A, N, S |  | bodySite: intercostal | Object | intercostal_drain | Intercostal drain | 90200118 | Intercostal drain |  |  |  |  | 303481006 | Intercostal drain
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | internal_foreign_body | Internal foreign body | 90200120 | Internal foreign body
Yes | No | No | A, N | A, N |  | bodySite: interstitial_tissue | Finding | interstitial_thickening_diffuse | Diffuse interstitial thickening | 90200122 | Diffuse interstitial thickening
Yes | No | No | A, N | A, N |  | bodySite: interstitial_tissue | Finding | interstitial_thickening_lower | Basal interstitial thickening | 90200123 | Basal interstitial thickening
Yes | No | No | A, N | A, N |  | bodySite: interstitial_tissue | Finding | interstitial_thickening_upper | Upper interstitial thickening | 90200125 | Upper interstitial thickening
Yes | No | No | A, N | A, N |  | bodySite: interstitial_tissue | Finding | interstitial_thickening_volloss_diffuse | Diffuse fibrotic volume loss | 90200127 | Diffuse fibrotic volume loss
Yes | No | No | A, N | A, N |  | bodySite: interstitial_tissue | Finding | interstitial_thickening_volloss_lower | Lower zone fibrotic volume loss | 90200128 | Lower zone fibrotic volume loss
Yes | No | No | A, N | A, N |  | bodySite: interstitial_tissue | Finding | interstitial_thickening_volloss_upper | Upper zone fibrotic volume loss | 90200130 | Upper zone fibrotic volume loss
Yes | No | No | A, N | A, N, R, S |  | bodySite: mthoracicspine | Finding | kyphosis | Kyphosis | 90200133 | Kyphosis | RID4759 | kyphosis |  |  | 298493002 | Kyphosis of thoracic spine
Yes | No | No | A, N | A, N, R, S |  | bodysite: lung | Finding | linear_atelectasis | Atelectasis | 90200134 | Atelectasis | RID28513 | linear atelectasis |  |  | 11689004 | Linear atelectasis
Yes | No | No | A, N | A, N, S |  | bodysite: pleuralcavity | Finding | loculated_effusion | Loculated effusion | 90200135 | Loculated effusion |  |  |  |  | 427895005 | Loculated pleural effusion
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | lung_collapse | Lung collapse | 90200138 | Lung collapse
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | lung_resection_volloss | Post resection volume loss | 90200147 | Post resection volume loss
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | lung_sutures | Lung sutures | 90200148 | Lung sutures
Yes | No | No | A, N | A, N | R(n), S(n), L(n) | bodySite: head_neck_vein | Object | malpositioned_cvc | Suboptimal CVC | 90200149 | Suboptimal Central Line (CVC) | RID5578 | central venous catheter | RID39174 | suboptimal | 52124006 | Central venous catheter |  |  | LP248513-6 | Central venous catheter | RDES237 | Chest Radiograph Lines and Tubes | RDE1531 | Central venous catheter | RDE1531.0, RDE1531.2 | absent, malpositioned
Yes | No | No | A, N | A, N | R(n), S(n) | bodySite: trachea | Object | malpositioned_ett | Suboptimal ETT | 90200150 | Suboptimal Endotracheal Tube (ETT) | RID5557 | endotracheal tube | RID39174 | suboptimal | 26412008 | Endotracheal tube |  |  |  |  | RDES237 | Chest Radiograph Lines and Tubes | RDE1530 | Endotracheal tube | RDE1530.0, RDE1530.2 | absent, malpositioned
Yes | No | No | A, N | A, N | R(n) | bodysite: gastro_oesophageal | Object | malpositioned_gastric_band | Suboptimal gastric band | 90200151 | Suboptimal gastric band | RID1611 | adjustable gastric band | RID39174 | suboptimal | 470413006 | Gastric band
Yes | No | No | A, N | A, N | R(n), S(n) | bodySite: esophagus | Object | malpositioned_ngt | Suboptimal NGT | 90200155 | Suboptimal Nasogastric Tube (NGT) | RID5566 | nasogastric tube | RID39174 | suboptimal | 17102003 | Nasogastric tube |  |  |  |  | RDES237 | Chest Radiograph Lines and Tubes | RDE1533 | Nasogastric tube | RDE1533.0, RDE1533.2 | absent, malpositioned
Yes | No | No | A, N | A, N | S(n) | bodySite: pulmonaryartery | Object | malpositioned_pac | Suboptimal PAC | 90200156 | Suboptimal Pulmonary Arterial Catheter (PAC) |  |  | RID39174 | suboptimal | 397755005 | Pulmonary artery catheter |  |  |  |  | RDES237 | Chest Radiograph Lines and Tubes | RDE1532 | Pulmonary artery catheter | RDE1532.0, RDE1532.2 | absent, malpositioned
Yes | No | No | A, N | A, N, R, S |  | bodySite: breast | Finding | mastectomy | Mastectomy | 90200157 | Mastectomy | RID49910 | mastectomy |  |  | 1231734007 | Mastectomy
Yes | No | No | A, N | A, N | R, S | bodySite: mediastinum | Object | mediastinal_clips | Mediastinal clips | 90200159 | Mediastinal clips | RID5607 | surgical clip |  |  | 386010000 | Surgical clip
Yes | No | No | A, N | A, N, R |  | bodysite: lung | Finding | miliary | Diffuse nodular / miliary lesions | 90200162 | Diffuse nodular miliary lesions | RID35377 | miliary pattern
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | multiple_pulmonary_masses | Multiple masses or nodules | 90200164 | Multiple masses or nodules
Yes | No | No | A, N | A, N | R, S | bodysite: neck | Finding | neck_clips | Neck clips | 90200165 | Neck clips | RID5607 | surgical clip |  |  | 386010000 | Surgical clip
Yes | No | No | A, N | A, N, R |  | bodysite: chest | Finding | nipple_shadow | Nipple shadow | 90200168 | Nipple shadow | RID35504 | round nipple shadow sign
Yes | No | No | A, N | A, N, S |  | bodySite: esophagus | Finding | oesophageal_stent | Oesophageal stent | 90200170 | Oesophageal stent |  |  |  |  | 705472007 | Esophageal stent
Yes | No | No | A, N | A, N, R, S |  | bodySite: cervical_vertebra_bone | Finding | osteopaenia | Osteopaenia | 90200172 | Osteopaenia | RID5388 | osteopenia |  |  | 312894000 | Osteopenia
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | overexposed | Overexposed | 90200175 | Overexposed |  |  | RID11274 | overexposure
No | Yes | No | A, N | A, N |  | bodySite: spinous_process | Finding | patient_rotated | Patient rotation | 90200178 | Patient rotation
Yes | No | No | A, N | A, N, S |  | bodySite: sternum | Finding | pectus_carinatum | Pectus carinatum | 90200179 | Pectus carinatum |  |  |  |  | 38774000 | Pectus carinatum
Yes | No | No | A, N | A, N, S |  | bodySite: sternum | Finding | pectus_excavatum | Pectus excavatum | 90200180 | Pectus excavatum |  |  |  |  | 391987005 | Pectus excavatum
No | Yes | No | A, N | A, N |  | bodySite: peribronchial_tissue | Finding | peribronchial_cuffing | Peribronchial cuffing | 90200182 | Peribronchial cuffing | RID46027 | bronchial wall thickening
Yes | No | No | A, N | A, N |  | bodySite: pericardial_fat | Finding | pericardial_fat_pad | Pericardial fat pad | 90200183 | Pericardial fat pad
Yes | No | Yes | RE | RE |  | bodysite: pleura | Finding | pleural_effusion | Pleural effusion |  |  | RID34539 | pleural effusion |  |  | 60046008 | Pleural effusion |  |  |  |  | RDES254 | Pleural Effusion | RDE1652 | Presence | RDE1652.0, RDE1652.1 | present, absent
Yes | No | No | A, N | A, N |  | bodysite: pleuralcavity | Finding | pleural_mass | Pleural mass | 90200189 | Pleural mass
Yes | No | No | RE | RE |  | bodysite: lung | Finding | pneumomediastinum | Pneumomediastinum |  |  | RID28523 | pneumomediastinum |  |  | 16838000 | Pneumomediastinum |  |  |  |  | RDES76 | Pneumonia | RDE400 | Pneumomediastinum | RDE400.0, RDE400.1 | absent, present
Yes | No | Yes | RE(n) | RE(n) |  | bodysite: lung | Finding | pneumothorax | Pneumothorax |  |  | RID5352 | pneumothorax |  |  | 36118008 | Pneumothorax |  |  |  |  | RDES44 | Pneumothorax | RDE421 | Presence | RDE421.0, RDE421.1 | absent, present
Yes | No | No | A, N | A, N |  | bodySite: pulmonaryartery | Finding | pulmonary_artery_enlargement | Pulmonary artery enlargement | 90200206 | Pulmonary artery enlargement
Yes | No | No | A, N | A, N, S |  | bodySite: lung | Finding | pulmonary_congestion | Pulmonary congestion | 90200207 | Pulmonary congestion |  |  |  |  | 67599009 | Pulmonary congestion
Yes | No | No | A, N | A, N, S |  | bodysite: ribs | Object | rib_fixation | Rib fixation | 90200209 | Rib fixation |  |  |  |  | 465799006 | Rib/rib cage internal fixation/bracing system
Yes | No | No | A, N | A, N |  | bodysite: ribs | Finding | rib_lesion | Rib lesion | 90200211 | Rib lesion
Yes | No | No | A, N | A, N, S |  | bodysite: ribs | Finding | rib_resection | Rib resection | 90200213 | Rib resection |  |  |  |  | 261531000 | Resection of rib
Yes | No | No | A, N | A, N |  | bodysite: rotator_cuff | Object | rotator_cuff_anchor | Rotator cuff anchor | 90200214 | Rotator cuff anchor
Yes | No | No | A, N | A, N |  | bodysite: scapula | Finding | scapular_fracture | Scapular fracture | 90200216 | Scapular fracture |  |  |  |  | 9682006 | Fracture of scapula
Yes | No | No | A, N | A, N |  | bodysite: scapula | Finding | scapular_lesion | Scapular lesion | 90200217 | Scapular lesion
Yes | No | No | A, N | A, N, R, S |  | bodySite: mthoracicspine | Finding | scoliosis | Scoliosis | 90200219 | Scoliosis | RID4756 | scoliosis |  |  | 298494008 | Scoliosis of thoracic spine
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | segmental_collapse | Segmental collapse | 90200220 | Segmental collapse
Yes | No | No | A, N | A, N | S(n) | bodysite: pleuralcavity | Finding | simple_effusion | Simple effusion | 90200229 | Simple effusion |  |  |  |  | 60046008 | Pleural effusion | 10003008 | Non-specific
Yes | No | No | A, N | A, N |  | bodysite: pleuralcavity | Finding | simple_pneumothorax | Simple pneumothorax | 90200230 | Simple pneumothorax
Yes | No | No | A, N | A, N |  | bodysite: lung | Finding | single_pulmonary_mass | Solitary lung mass | 90200232 | Solitary lung mass
Yes | No | No | RE | RE | R | bodysite: lung | Finding | single_pulmonary_nodule | Solitary lung nodule |  |  | RID50149 | pulmonary nodule | RID5762 | single | 427359005 | Solitary pulmonary nodule |  |  |  |  | RDES227 | Chest Radiograph Pulmonary Nodules | RDE1465 | Presence | RDE1465.0, RDE1465.2 | absent, single
Yes | No | No | A, N | A, N |  | bodysite: bonespine | Object | spinal_fixation | Spinal fixation | 90200237 | Spinal fixation
Yes | No | No | A, N | A, N, S |  | bodysite: jointspine | Finding | spine_arthritis | Spinal arthritis | 90200238 | Spinal arthritis |  |  |  |  | 371082009 | Arthritis of spine
Yes | Yes | No | A, N | A, N, S |  | bodysite: thoracicspine_column | Finding | spine_lesion | Spinal lesion | 90200239 | Spinal lesion |  |  |  |  | 298499003 | Lesion of thoracic spine
Yes | No | Yes | RE | RE |  | bodysite: spine | Finding | spine_wedge_fracture | Vertebral Compression Fracture |  |  | RID4699 | wedge compression fracture |  |  | 314668006 | Wedge fracture of vertebra |  |  |  |  | RDES230 | Vertebral Compression Fracture | RDE1471 | Presence | RDE1471.0, RDE1471.1 | present, absent
Yes | No | No | A, N | A, N |  | bodySite: sternum | Object | sternotomy_wires | Sternotomy wires | 90200244 | Sternotomy wires
Yes | Yes | No | A, N | A, N, S |  | bodysite: subcutaneous_tissue | Finding | subcutaneous_emphysema | Subcutaneous emphysema | 90200245 | Subcutaneous emphysema |  |  |  |  | 3830001 | Subcutaneous emphysema
Yes | No | Yes | RE | RE |  | bodySite: abdomen | Finding | subdiaphragmatic_gas | Pneumoperitoneum |  |  | RID4803 | pneumoperitoneum |  |  | 17204006 | Pneumoperitoneum |  |  |  |  | RDES228 | Pneumoperitoneum | RDE1466 | Presence | RDE1466.0, RDE1466.1 | present, absent
Yes | Yes | No | A, N | A, N |  | bodySite: mediastinum | Finding | superior_mediastinal_mass | Superior mediastinal mass | 90200247 | Superior mediastinal mass |  |  |  |  | 94147001 | Mediastinal mass
Yes | No | Yes | RE(n) | RE(n) |  | bodysite: lung | Finding | tension_pneumothorax | Tension pneumothorax |  |  | RID28525 | tension pneumothorax |  |  | 233645004 | Tension pneumothorax |  |  |  |  | RDES44 | Pneumothorax | RDE1653 | Signs of tension | RDE1653.0 (if present) RDE1653.3 (if absent) | contralateral mediastinal shift absent
Yes | No | No | A, N | A, N, S |  | bodySite: trachea | Finding | tracheal_deviation | Tracheal deviation | 90200251 | Tracheal deviation |  |  |  |  | 13206009 | Trachea displaced
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | underexposed | Underexposed | 90200252 | Underexposed |  |  | RID11277 | underexposure
Yes | No | No | A, N | A, N |  | bodySite: chest | Finding | underinflation | Underinflation | 90200253 | Underinflation
Note on AA21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: There is no present value. Its not clear whether Annalise identifies malpositioning (hence, setting up as indeterminate)
Note on G50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This will not include stomach! How to include stomach and the bowel?
Note on G52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Suggesting RUQ stomach instead of the Gallbladder structure recommended by SNOMED (as reported in the findings document)
Note on G53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Suggesting gastro_oesophageal bodysite instead of stomach structure as suggested by snomed.
Note on Q65: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Inferior and superior locations from the aortic arch cannot be qualified in snomed/radlex; hence this has been mapped but kept out of default mapping
Note on G82: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Suggesting gastro_oesophageal bodysite instead of stomach structure as suggested by snomed.
Note on G83: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Since, the NGT is seen from nasal, through esophagus to stomach; would esophagus be the right body site?
Note on N97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Does this represent the finding correctly?

## Codes - Non Obs
Primary Resource | Contained Resource | Field | RADLEX (system: http://radlex.org) |  | LOINC system: http://loinc.org |  | SNOMED (system: http://snomed.info/sct) |  | DICOM (system: http://dicom.nema.org/resources/ontology/DCM) |  | Nuance (http://nuancepowerscribe.com/ai)
|  |  | code | display | code | display | code | display | code | display | code | display | value
DiagnosticReport | ImagingStudy | procedureCode |  |  | 36554-4 36643-5 36298-8 36320-0 30745-4 | XR Chest 1V XR Chest 2V XR Chest 3V XR Chest 4V XR Chest Views | 399208008 | Chest x-ray
DiagnosticReport | Observation | bodySite: abdomen | RID56 | abdomen | LP199956-6 | Abdomen | 818983003 | Abdomen
DiagnosticReport | Observation | bodySite: chest | RID1243 | thorax | LP7138-3 | Chest | 51185008 | Chest ¦ Thorax
DiagnosticReport | Observation | bodySite: aorta | RID480 | aorta | LP7009-6 | Aorta | 15825003 | Aorta
DiagnosticReport | Observation | bodySite: mediastinum | RID1384 | mediastinum | LP199936-8 | Mediastinum | 72410000 | Mediastinum
DiagnosticReport | Observation | bodySite: aorticarch | RID581 | aortic arch | LP199916-0 | Aortic Arch | 57034009 | Aortic Arch
DiagnosticReport | Observation | bodySite: shoulder | RID39518 | shoulder | LP200011-7 | Shoulder | 16982005 | Shoulder
DiagnosticReport | Observation | bodySite: thoracicspine | RID28677 | thoracic spine region | LP200020-8 | Thoracic spine | 122495006 | Thoracic spine
DiagnosticReport | Observation | bodySite: lowerlungs | RID1354 | lower lung zone |  |  | 281394001 | Lower zone of lung
DiagnosticReport | Observation | bodysite: upperlung | RID1348 | upper lung zone |  |  | 281392002 | Upper zone of lung
DiagnosticReport | Observation | bodysite: lung | RID1301 | lung | LP199934-3 | Lung | 39607008 | Lung
DiagnosticReport | Observation | bodysite: perihilarlung | RID39233 | perihilar |  |  | 63907008 | Perihilar region of lung
DiagnosticReport | Observation | bodysite: humerus | RID1971 | Humerus | LP221454-4 | Humerus | 85050009 | Humerus
DiagnosticReport | Observation | bodysite: rib | RID2471 | rib |  |  | 113197003 | Rib
DiagnosticReport | Observation | bodysite: chestwall | RID2468 | chest wall | LP208118-2 | Chest wall | 78904004 | Chest wall
DiagnosticReport | Observation | bodysite: clavicle | RID1854 | clavicle | LP199963-2 | Clavicle | 51299004 | Clavicle
DiagnosticReport | Observation | bodysite: pleuralcavity | RID1363 | pleural space | LP199940-0 | Pleural space | 91381003 | Pleural cavity
DiagnosticReport | Observation | bodysite: airway | RID1245 | airway | LP200368-1 | Airway | 89187006 | Airway
DiagnosticReport | Observation | bodysite: axilla | RID2470 | axilla | LP207783-4 | Axilla | 91470000 | Axilla
DiagnosticReport | Observation | bodysite: biliarytree | RID33652 | biliary tree |  |  | 34707002 | Biliary tract structure
DiagnosticReport | Observation | bodysite: breast | RID28749 | breast | LP199961-6 | Breast | 76752008 | Breast
DiagnosticReport | Observation | bodysite: pulmonaryhilum | RID34566 | pulmonary hilum |  |  | 46750007 | Hilum of lung
DiagnosticReport | Observation | bodysite: neck | RID7488 | neck | LP199995-4 | Neck | 45048000 | Neck
DiagnosticReport | Observation | bodysite: pleura | RID1362 | pleura | LP199939-2 | Pleura | 3120008 | Pleura
DiagnosticReport | Observation | bodysite: cardiacvalve | RID1393 | heart valve |  |  | 17401000 | Cardiac valve
DiagnosticReport | Observation | bodysite: heart | RID1385 | heart | LP199927-7 | Heart | 302509004 | Entire heart
DiagnosticReport | Observation | bodysite: coronaryartery | RID35862 | coronary artery |  |  | 41801008 | Coronary artery
DiagnosticReport | Observation | bodysite: diaphragm | RID1524 | diaphragm | LP208107-5 | Diaphragm | 5798000 | Diaphragm
DiagnosticReport | Observation | bodysite: vertebra | RID29154 | vertebra | LP263430-3 | Spine vertebra | 420345000 | Vertebra
DiagnosticReport | Observation | bodysite: intestine | RID130 | intestine |  |  | 113276009 | Bowel
DiagnosticReport | Observation | bodysite: ruq_abdomen | RID29994 | right upper quadrant of abdomen |  |  | 50519007 | Right upper quadrant of abdomen
DiagnosticReport | Observation | bodysite: gastro_oesophageal | RID96 | gastroesophageal junction |  |  | 25271004 | Gastroesophageal junction
DiagnosticReport | Observation | bodysite: esophageal_hiatus | RID114 | stomach |  |  | 280062008 | Esophageal hiatus
DiagnosticReport | Observation | bodysite: hilarlymphnode | RID1497 | bronchopulmonary lymph node |  |  | 53074004 | Bronchial lymph node
DiagnosticReport | Observation | bodysite: bronchus | RID1249 | bronchus |  |  | 955009 | Bronchus
DiagnosticReport | Observation | bodysite: head_neck_vein | RID1008 | vein |  |  | 244390008 | Head and neck vein
DiagnosticReport | Observation | bodysite: trachea | RID1247 | trachea | LP234164-4 | Trachea | 44567001 | Trachea
DiagnosticReport | Observation | bodysite: esophagus | RID95 | esophagus | LP199925-1 | Esophagus | 32849002 | Esophagus
DiagnosticReport | Observation | bodysite: pulmonaryartery | RID974 | pulmonary artery |  |  | 81040000 | Pulmonary artery
DiagnosticReport | Observation | bodysite: intercostal | RID33008 | intercostal space |  |  | 47495005 | Intercostal space
DiagnosticReport | Observation | bodysite: interstitial_tissue | RID28512 | interstitium |  |  | 113254000 | Interstitial tissue of lung
DiagnosticReport | Observation | bodySite: mthoracicspine | RID34572 | thoracic vertebral column |  |  | 297167000 | Musculoskeletal structure of thoracic spine
DiagnosticReport | Observation | bodySite: thoracicaorta | RID879 | thoracic aorta | LP199915-2 | Aorta.thoracic | 113262008 | Thoracic aorta
DiagnosticReport | Observation | bodySite: cervical_vertebra_bone | RID29155 | cervical vertebra |  |  | 84667006 | Cervical vertebra
DiagnosticReport | Observation | bodySite: spinous_process | RID29179 | spinous process of vertebra |  |  | 55678000 | Spinous process of vertebra
DiagnosticReport | Observation | bodySite: sternum | RID2473 | sternum |  |  | 56873002 | Breast bone
DiagnosticReport | Observation | bodySite: peribronchial_tissue | RID1243 | thorax |  |  | 54233001 | Peribronchial tissue
DiagnosticReport | Observation | bodySite: pericardial_fat | RID1429 | pericardial fat pad |  |  | 42267001 | Pericardial fat
DiagnosticReport | Observation | bodySite: ribs | RID28591 | set of ribs |  |  | 113197003 | Bone structure of rib
DiagnosticReport | Observation | bodysite: rotator_cuff | RID1938 | rotator cuff muscle |  |  | 7885001 | Rotator cuff
DiagnosticReport | Observation | bodysite: scapula | RID1860 | scapula | LP200009-1 | Scapula | 79601000 | Scapula
DiagnosticReport | Observation | bodysite: bonespine | RID34813 | bone spine |  |  | 51282000 | Bone structure of spine
DiagnosticReport | Observation | bodysite: jointspine | RID7889 | joint of spine |  |  | 8983005 | Intervertebral joint
DiagnosticReport | Observation | bodysite: thoracicspine_column | RID34572 | thoracic vertebral column |  |  | 1141986006 | Thoracic spinal column region
DiagnosticReport | Observation | bodysite: subcutaneous_tissue | RID35730 | portion of soft tissue |  |  | 71966008 | Subcutaneous tissue
DiagnosticReport | Observation | bodysite: peritoneal_cavity | RID397 | peritoneal cavity | LP208137-2 | Peritoneal space | 83670000 | Peritoneal cavity
DiagnosticReport | Observation | bodysite: spine | RID7741 | spine
DiagnosticReport | Observation | component.code.studyCode | [6 empty] | 110180 | Study Instance UID
DiagnosticReport | Observation | component.code: trackingIdentifier | [6 empty] | 112039 | Tracking Identifier
DiagnosticReport | Observation | component.code: trackingUID | [6 empty] | 112040 | Tracking Unique Identifier
DiagnosticReport | Observation | component.code: laterality |  |  |  |  | 272741003 | Laterality
DiagnosticReport | Observation | component.code: left_laterality |  |  |  |  | 7771000 | Left lateral
DiagnosticReport | Observation | component.code: right_laterality |  |  |  |  | 24028007 | Right lateral
DiagnosticReport | Observation | component.code: bilateral |  |  |  |  | 51440002 | Bilateral
DiagnosticReport | Observation | component.code: present | RID28472 | present |  |  | 52101004 | Present |  |  | 90090301 | Finding Qualifier | valueString: present
DiagnosticReport | Observation | component.code: absent | RID28473 | absent |  |  | 2667000 | Absent |  |  | 90090301 | Finding Qualifier | valueString: absent
DiagnosticReport | Observation | component.code: probability | RID33 | probably |  |  | 2931005 | Probably |  |  | 90090302 | Finding Probability | valueQuantity: <UOM>